## Template
Submitted Date: (MM/DD/YYYY)
Energy Curtailment Planning – Event Day Actions: (College/Department/Unit Name)
Building Number | Building Name | Date | Notification time | Event Lead Time
Designated Representatives (Contact Sequence)
Name | Role | Unit | Email | Phone Number
Departments or unit contacts
(Include backup personnel)
College contacts
(Include back-up personnel)
Technology Services | Please contact a representative regarding IT spaces
Critical Facility Information
Critical Operations That Cannot Be Shut Down
General overview of the essential functions within the facility and why those operations cannot be shut down, even during a Maximum Generation Level event.
The section below provides examples of critical operations. Those items should be modified as necessary to develop a specific college, department, or unit plan.
Example: Life safety systems (e.g., egress lighting including stairs, fire alarms, and emergency signage)
Example: Vertical transportation (i.e., use stairs as much as possible instead of the elevator, but for people with disability)
Example: Select servers for data acquisition and remote storage
Example: Backup services or platforms that provide remote access, including remote desktops
Example: Areas where only essential employees assisting with event day response should remain in the building (e.g., facilities, safety, and IT staff)
Example: All laboratory ventilation, lighting, HVAC, equipment, and life safety
Example: All laboratory support space, such as cold rooms, autoclaves, DI water systems, etc.
Equipment on Backup Power F&S will help provide additional information as it pertains to this area
Example: Building-wide emergency lighting (F&S will confirm if emergency lighting in a building is tied to a backup power)
Example: Does the building tie to a backup generator? If yes, how long will the generator provide power for the building?
General Energy Reduction Strategies
Task |  | Assigned To | Notes | Completed By
Electricity/Lighting
The section below provides examples of energy reduction strategies for specific equipment, systems, and facilty locations. These items should be modified as necessary.
Example: Turn off nonessential lighting (hallways, offices, conference rooms, task lighting) |  | Manual shutoff by occupants/building team | Will take __ minutes to shut down
Teaching Classrooms (if unoccupied) |  | Manual shutoff by occupants/building team | Will take __ minutes to shut down
Example: Conference rooms (if unoccupied) |  | Manual shutoff by occupants/building team | Will take __ minutes to shut down
Example: General assignment classroom (Confirm with CMSS or FSL) |  | N/A
Example: All laboratory ventilation, lighting, HVAC, and life safety equipment
Example: All laboratory support space, such as cold rooms, autoclaves, DI water systems, etc.
Example: For critical areas and equipment designated as "Can NOT Shut Down" |  | DO NOT TURN OFF | Backup power source provided for __ hours run time
Electronics
Example: Shut down computers, printers, monitors, and copiers |  | Manual shutoff by occupants/building team | Will take __ minutes to shut down
Example: Turn off audiovisual systems, task monitors, and nonessential displays |  | Manual shutoff by occupants/building team | Will take __ minutes to shut down
Example: Data center Please confirm with Technology Services |  | N/A
HVAC and Mechanical
Example: Reduce air handling unit output in administrative areas (Areas/floors/rooms) |  | F&S | Please verify the time needed for F&S to reduce to the minimum air supply
Example: All laboratory supply and exhaust ventilation, lighting, HVAC, and life safety equipment
Example: All laboratory support space, such as cold rooms, autoclaves, DI water system, etc.
Example: For critical areas and equipment designated as "Can NOT Shut Down" |  | DO NOT TURN OFF | Backup power source provided for __ hours run time
Specialty Areas/Equipment in the Building
Example: Research labs with equipment on timers
Example: Fume hoods, biosafety cabinets, and dishwasher/autoclave sterilization cycles
Example: House vacuum pumps and house compressors
Example: Ultra-low freezers
Example: Central lab exhaust fans
Example: Teaching classrooms, general assignment classrooms, CBTF, EWS
Example: Vending machines and public electronic visual screens
Example: Technology Services' data centers