## Template
Submitted Date: (MM/DD/YYYY)
Energy Curtailment Planning – Event Day Actions: (College/Department/Unit Name)
Building Number | Building Name | Date | Notification time | Event Lead Time
Designated Representatives (Contact Sequence)
Name | Role | Unit | Email | Phone Number
Department or unit contacts
(Include backup personnel)
College contacts
(Include backup personnel)
Critical Facility Information
Critical Operations That Cannot Be Shut Down
General overview of the essential functions within the facility and why those operations cannot be shut down, even during a Maximum Generation Level event.
The section below provides examples of critical operations. These items should be modified as necessary to develop a specific college, department, or unit plan.
Example: Life safety systems (e.g., egress lighting, including stairs, fire alarms, and emergency signage)
Example: Vertical transportation (i.e., use stairs as much as possible instead of the elevator, except for people with a disability)
Example: Select servers for data acquisition and remote storage
Example: Backup services or platforms that provide remote access, including remote desktops
Example: Areas where only essential employees assisting with the event day response should remain in the building (e.g., facilities, safety, and IT staff)
Equipment on Backup Power F&S will help provide additional information as it pertains to this area
Example: Building-wide emergency lighting (F&S will confirm if emergency lighting in a building is tied to a backup power)
Example: Does the building tie to a backup generator? If yes, how long will the generator provide power for the building?
General Energy Reduction Strategies
Task |  | Assigned To | Notes | Completed By
Electricity/Lighting
The section below provides examples of energy-reduction strategies for specific equipment, systems, and facility locations. These items should be modified as necessary.
Example: Turn off non-essential lighting (e.g., hallways, offices, task lighting) |  | Manual shutoff by occupants | Will take __ minutes to shut down
Example: Teaching classrooms (if unoccupied) |  | Manual shutoff by occupants | Will take __ minutes to shut down
Example: Conference rooms (if unoccupied) |  | Manual shutoff by occupants | Will take __ minutes to shut down
Electronics
Example: Shut down computers, printers, monitors, copiers |  | Manual shutoff by occupants | Will take __ minutes to shut down
Example: Turn off general assignment classroom and online classroom audiovisual systems, task monitors, and nonessential displays |  | Manual shutoff by occupants | Will take __ minutes to shut down
HVAC and Mechanical Systems
Example: Reduce air handling unit output in administrative areas (Area/floors TBD) |  | F&S | Please verify the time needed for F&S to reduce to the minimum air supply
Specialty Areas/Equipment In The Building
Example: 1st Floor
Example: 4th floor
Example: Vending machines and public electronic visual screens | and digital signs