## Template
Submitted Date: (MM/DD/YYYY)
Energy Curtailment Planning – Event Day Actions: (College/Department/Unit Name)
Building Number | Building Name | Date | Notification time | Event Lead Time
Designated Representatives (Contact Sequence)
Name | Role | Unit | Email | Phone Number
Departments or unit contacts
(Include backup personnel)
College contacts
(Include back-up personnel)
Critical Facility Information
Critical Operations That Cannot Be Shut Down
General overview of the essential functions within the facility and why those operations cannot be shut down, even during a Maximum Generation Level event.
The section below provides examples of critical operations. These items should be modified as necessary to develop a specific college, department, or unit plan.
Example: Hydrogen Generator: Supplies purge gas to the facility systems.
Example: Nitrogen Generators: Provide purge and pneumatic gas to gas cabinets, cleanroom tools, abatement equipment, and toxic gas transport lines.
Example: Power Supplies and Control Systems: Continuous power is required for stable and accurate operation. Loss of power can cause significant damage to various systems.
Example: MOCVD Power Supplies: Power must not be interrupted without proper notice. Unplanned shutdowns can result in equipment damage requiring months to repair.
Example: Toxic Gas Monitoring Systems (TGMS): Toxic gas detection and monitoring cannot be lost. These systems are a critical life-safety requirement.
Example: Gas Abatement Systems: Must remain operational at all times. Continuous operation is essential due to the hazardous nature of the research materials that must be contained.
Example: Bio lab houses several -20 and -80 freezers with delicate samples and research items that can take months to replicate.
Equipment on Backup Power F&S will help provide additional information as it pertains to this area
Example: Building-wide emergency lighting (F&S will confirm if emergency lighting in a building is tied to a backup power)
Example: Does the building tie to a backup generator? If yes, how long will the generator provide power for the building?
Example: Emergency lights/exit lights
Example: Some back up power for tools but most of our systems demands are to large for the generators to handle
Example: Autoclaves
General Energy Reduction Strategies
Task |  | Assigned To | Notes | Completed By
Electricity/Lighting
Example: Turn off non-essential lighting (e.g., hallways, offices, task lighting) |  | Manual shutoff by occupants | Will take __ minutes to shut down
Electronics
Example: Shut down computers, printers, monitors, copiers |  | Manual shutoff by occupants or facility manager | Will take __ minutes to shut down
Example: Turn off audiovisual systems and nonessential displays |  | Manual shutoff by facility manager | Will take __ minutes to shut down
Example: Data Center: Please confirm with Tech Services |  | N/A
HVAC and Mechanical
Example: Reduce air handling unit output in administrative areas (Area/Floors/Rooms TBD by facility manager) |  | F&S | Example: No reductions of unit output is to be made to these LABS!
Specialty Areas/Equipment
Example: The facility utilizes hazardous materials that are controlled through engineered safety systems and continuous gas detection monitoring. Example: Failure or shutdown of these systems presents an unacceptable risk to staff, students, and the public.