## Sewer Fee Estimator Short Form
POPULATION EQUIVALENT CALCULATOR AND SEWER FEE ESTIMATOR
If you have any questions or need any help with planning for sanitary sewer permitting, please contact Colleen Ruhter cruhter@illinois.edu or the Environmental Compliance group ecs@illinois.edu
If your project will have a new or replacement sanitary sewer connection, or adds flow to an existing sanitary sewer connection (ie, a building expansion), it will need one or two sanitary sewer permits, depending on the volume of the sewer discharge associated with the project, and will therefore have one or two sanitary sewer permit fees. |  |  |  | TOTAL ESTIMATED SANITARY SEWER FEES Fees accurate as of March 2026
Directions: Only adjust the cells in grey. If there are 0 persons for that category, please enter '0' in the cell to prevent calculation erros. If your project has uses other than those listed, contact Environmental Compliance for consultation. Choose the projected dates to incorporate annual fee increases. A more thorough explanation of the calculations is on the Long Form page. No data needs to be input into the Long Form Page. |  |  |  | #VALUE!
Step 1 | Calculate flow rate (aka PE).
| Flow rate estimates: | Number | gpd/person | gallons total per day | PE
| office workers/student seats | INPUT DATA | 15 | #VALUE! | #VALUE!
| residents | INPUT DATA | 100 | #VALUE! | #VALUE!
| transients | INPUT DATA | 5 | #VALUE! | #VALUE!
| Laboratories or other uses | * | *must be estimated by the customer / PSC. Contact Environmental Compliance
| Total Estimated PE: |  |  |  | #VALUE!
Note: The PE Value for any connection can not be below 3.5 PE. If it is, the value used to calculate fees will automatically be 3.5
2 | Is the PE at or above 15.0? If yes, an ICRF fee and an IEPA construction Permit are required. |  |  |  | #VALUE!
3 | Calculate the ICRF sewer fees if #2 above is "YES". If "NO" skip to #5.
| PE Value | 4 months prior to Construction Start Date (choose) | ICRF Rate | Total estimated ICRF permitting fee
| #VALUE! | SELECT | ERROR | #VALUE!
4 | Estimate the IEPA permitting time prior to construction to ensure project schedule is accurate.
If the PE is 15.0 or greater, the IEPA construction permit required will take about 4 months to obtain once submitted by the PSC. Allow this time in the project schedule.
5 | Estimate the UCSD connection permit fees based on the expected end date and PE calcualted (required for ALL projects with sewer connections.)
| PE Value | Construction End Date (choose) | Connection Fee Rate | Total estimated Connection permitting fee
| #VALUE! | SELECT | ERROR | #VALUE!
6 | Estimate UCSD permitting time prior to building occupancy, but after completion of the sewer construction.
This usually takes a minimum of a month. It can/has taken upwards of a year if the document management is not coordinated well. Permit fees can go up if it takes too long to get this submitted.
7 | Realize these timelines and fees are estimates. Actual timeframes will vary with each project. Actual PE values will be calculated by the PSC and confirmed by UCSD at the time of permit issuance. These estimates should be considered with a contingency.
| TOTAL ESTIMATED SANITARY SEWER FEES |  |  | #VALUE!
These estimates should, however, offer a reasonable placeholder for the sanitary permitting fees while creating a project budget to prevent a gross under-estimation of the money necessary to permit the project.

## Sewer Fee Estimator Long Form
SANITARY SEWER FEE AND TIMELINE ESTIMATOR
If you have any questions or need any help with planning for sanitary sewer permitting, please contact Colleen Ruhter cruhter@illinois.edu or the Environmental Compliance group ecs@illinois.edu
This sheet is locked. Return to the "Short Form" to edit the calculations. This sheet is for explanation purposes only.
If your project will have a new or replacement sanitary sewer connection, or adds flow to an existing sanitary sewer connection (ie, a building expansion), it will need one or two sanitary sewer permits, depending on the volume of the sewer discharge associated with the project, and will therefore have one or two sanitary sewer permit fees. |  |  |  | TOTAL ESTIMATED SANITARY SEWER FEES Fees accurate as of March 2026
Cells can only be adjusted on the Short Form page. If your project has uses other than those listed, contact Environmental Compliance for consultation. |  |  |  | #VALUE!
How to Plan:
Step | Task
1 | Calculate the flow rate (aka Population Equivalent/PE)
2 | Determine if the Interceptor Cost Recovery Fee (ICRF) and an IEPA Construction Permit will be required prior to start of construction (if PE ≥ 15.0)
3 | Estimate the ICRF sewer fees based on the expected start date and PE calculated
4 | Estimate the permitting time prior to construction to ensure project schedule is accurate
5 | Estimate the connection permit fees based on the expected end date and PE calcualted (required for all projects, not just those with PE ≥ 15)
6 | Estimate permitting time prior to building occupancy, but after completion of the sewer construction. All required documents will be needed to get the permit issued before use. Document submittal can drag out a permit for months, possibly causing the permit fees to increase if the timing hits just right.
7 | Realize these timelines and fees are estimates. Actual timeframes will be contingent on each project. Actual PE values will be calculated by the PSC and confirmed by UCSD at the time of permit issuance. The estimates in this spreadsheet should be considered with a contingency for changes.
Step 1 | Calculate flow rate (aka PE). 1 person is considered to use 100 gallons of water per day for permitting purposes. 100 gallons is therefore 1 Population Equivalent (1 PE).
How many people will be in the facility when the rooms are full to occupancy? (This is not based on building square footage).
# of office workers
# of students
# of residents (dorms, other living quarters)
# of transients (Like spectators at a sporting facility)
# of laboratories (estimate volume of water for lab use will need to be provided by the customer)
Office workers: 15 gallons per person per day. Based on the number of actual office/cubicle spaces.
Students: 15 gallons per person per day. Includes lecture hall seats, study room and lounge seating.
Residents: 100 gallons per person per day. Based on number of beds.
Transients: 5 gallons per person per day. Based on number of seats for spectators, etc.
Laboratories: We will need to discuss this with UCSD, as this can vary widely
| Flow rate estimates: | Number | gpd/person | gallons total per day | PE
| office workers/student seats | INPUT DATA | 15 | #VALUE! | #VALUE!
| residents | INPUT DATA | 100 | #VALUE! | #VALUE!
| transients | INPUT DATA | 5 | #VALUE! | #VALUE!
| Laboratories or other uses | * | *must be estimated by the customer / PSC. Contact Environmental Compliance
| Total Estimated PE: |  |  |  | #VALUE!
Note: The PE Value for any connection can not be below 3.5 PE. If it is, the value used to calculate fees will automatically be 3.5
2 | Is the total PE calculated at or above 15.0?
| Is an ICRF fee and an IEPA construction Permit required? |  |  |  | #VALUE!
3 | Calculate the ICRF sewer fees if #2 above is "YES". If "NO" skip to #5.
ICRF costs are based on the UCSD permitting rates issued each May 1. Rates generally go up 5-10% every year. The values given here will be best-guest estimates, but can and likely will vary at time of permitting.
| Use this chart to estimate the fees at the time the project is scheduled to begin construction. |  |  |  | Fees listed are based on the actual fees for May 2025 - April 2026
This fee is paid at the beginning of the construction permitting process, approximately 4 months before the permit is issued and construction can begin.
| PE Value | 4 months prior to Construction Start Date (choose) | ICRF Rate | Total estimated ICRF permitting fee
| #VALUE! | SELECT | ERROR | #VALUE!
4 | Estimate the IEPA permitting time prior to construction to ensure project schedule is accurate.
PSC shall put together the application. 3 paper copies with 11x17 plans, application forms, specs, and the ICRF fee must be submitted to EC.
Utilities signatures are required.
UCSD reviews the application. Review normally takes 1-2 weeks.
ICRF fee is paid.
IEPA reviews the application. IEPA reviews can take up to 90 days.
If the PE is 15.0 or greater, the IEPA construction permit required will take about 4 months to obtain once submitted by the PSC. Allow this time in the project schedule.
5 | Estimate the UCSD connection permit fees based on the expected end date and PE calcualted (required for ALL projects with sewer connections.)
Connection permit fee costs are based on the UCSD permitting rates issued each May 1. Rates go up 5-10% every year. The values given here are estimates, but can and likely will vary at time of permitting.
Use this chart to estimate what the fees will be at the time the project is scheduled to complete construction.
| PE Value | Construction End Date (choose) | Connection Fee Rate | Total estimated Connection permitting fee
| #VALUE! | SELECT | ERROR | #VALUE!
6 | Estimate UCSD permitting time prior to building occupancy, but after completion of the sewer construction. All required documents will be needed to get the permit issued before use. Document submittal can drag out a permit for months, possibly causing the permit fees to increase if the timing hits just right. Connection permits cannot be issued and the sewer system cannot be used until the connection permit is issued. *Note: for small projects under 15 PE, connections permits can sometimes be issued prior to the end of construction. Contact Environmental Compliance (Colleen Ruhter) to coordinate this process.
Once construction of the sewers are completed, the system must be tested
Allow time for mandrel testing and videos
Allow time for pressure testing
Allow time for the engineer's statement of adequate installation to be obtained
Allow time for sewer as-builts
Allow time to procure the connection permit fee check
This usually takes a minimum of a month. It can/has taken upwards of a year if the document management is not coordinated well.
*NOTE: If the connection permitting process takes long enough that the next permit fee increase happens (May 1 of any given year), the permit fees will increase. If the connection permit fees have already been paid, but the permit is not yet issued, UCSD will require payment for the difference prior to permit approval.
7 | Realize these timelines and fees are estimates. Actual timeframes will vary with each project. Actual PE values will be calculated by the PSC and confirmed by UCSD at the time of permit issuance. These estimates should be considered with a contingency.
| TOTAL ESTIMATED SANITARY SEWER FEES |  |  | #VALUE!
These estimates should, however, offer a reasonable placeholder for the sanitary permitting fees while creating a project budget to prevent a gross under-estimation of the money necessary to permit the project.

## Fee Estimations
Date Range | Estimated ICRF Rate | Estimated Connection Fee Rate
SELECT | ERROR | ERROR
May 2025 - April 2026 | 454 | 580
May 2026 - April 2027 | 476.7 | 609
May 2027 - April 2028 | 495.768 | 669.9
May 2028 - April 2029 | 515.5987 | 736.89
May 2029 - April 2030 | 536.2227 | 810.579
May 2030 - April 2031 | 557.6716 | 891.6369
May 2031 - April 2032 | 579.9784 | 980.8006
May 2032 - April 2033 | 603.1776 | 1078.8806
May 2033 - April 2034 | 627.3047 | 1186.7687
May 2034 - April 2035 | 652.3969 | 1305.4456